## Table 1
Daikin July 15 2024
TAGGING | MOOEL | DESCRIPTION | Qty | UNIT PlllO: | TOTAL
2024-07-15 | RXQ1OAYM | Daikin VRV-A Outdoor Unit 10HP( 28kW), 3&:JV-415V,3Ph,4-Wire System,60Hz, R410A Refrlaerant | ' | 44S,600.00 | 3119200
| RXQ12AYM | Daikin VRV-A Outdoor Unit l 2HP(33.SkW), 380V 415V,3Ph, 4-WI "' System, 60Hz, R410A Refrleerant | 20 | 509400 | 10,188,000.0()
| RXQ14AYM | Daikln VRV-A Outdoor Unit 14HP(40kW), 380V-41SV, 3Ph,4-Wire System, 60Ht, R410A RefriMerant | 18 | 732700 | 13188600
| RXQ16AYM | Daikin VRV A Outdoor Unit 16HP(45kW),380V-415V, 3Ph,4-Wire System, 60H•, R410A Refrigerant | 7 | 798700 | 5590900
| RXQ18AYM | Daikin VRV-A Outdoor Unit 18HP(SOl<W), 380V-41SV, 3Ph, 4-Wire System, 60Hz, R410A Refriaerant | 20 | 851700 | 17034000
| RXQ20AYM | Daikin VRV-A Outdoor Unit 20HP(56kW), 380V 415V, 3Ph,4-WireSystem,60Ht, R410A Refri'1:erant | 27 | 909500 | 24556500
| RXQ6AYM | Dikin VRV-1\ Outdoor Unit 6HP(16kW), 380V-41SV, 3Ph, 4-Wlre System, 60Hz, R410A Rcfr'iaerant | 1 | 322200 | 322200
| FXAQZOAVM | Daikin VRV Indoor Unit Wall Mounted Type (VRT SMART} with coolingcapacity of 2.2 kW, R-410A refrigerant, 2<0V-lph·60 Hz | 13 | 48,31)0.00
627900
| FXAQ25AVM | Daikin VRV Indoor Unit Wall Mounted Type (VRT SMART) with coohng capacity of 2.8 kW , R+410A refrigerant 220V-I ph-60 Hz | 5 | 49200 | 246000
| FXAQ3ZAVM | DaikinVRV Indoor Unit Wall Mounted Type {VRT SMART) 'l.vith coolingcapacityof 3.6 kW , R-410A refrJgerant, 220V·1Ph·60 Hz | 14 | 50500 | 707000
| FXAQ40AVM | Daikin VRV Indoor Unit Wall Mounted Type (VRf SMAl{T) with coolingcapacity of 4.5 kW ,R·410A refrigerant, 220V-1ph-60 Hz | 7 | 51100 | 357700
| FXAQ50AVM | Daikln VRV Indoor Unit Wall Mounted Type (VRT SMART, with coolingcapacity of 5.6 kW ,R4410.A refrigerant, 220V-loh Hz | 39 | 52000 | 2028000
| VAM500HVE | Daikin VAM Series 220-240V, 50/60Hz, 1ph | 1 | 110400 | 110400
| VAM650HVE | Daikin VAM Series 220-240V, 50/60Hz, 1ph | 1 | 129000 | 129000
| VAM800HVE | Daikin VAM Series 220-240V, 50/60Hz, 1ph | 3 | 151100 | 453300
| BHFP22P100-7 | Outdoor unit multi connection piping kit | 20 | 16700 | 334000
| BHFP22P151-7 | Outdoor unit multi connection piping kit | 17 | 33800 | 574600
| KHRP26A2T7 | Refnet branch piping kit | 94 | 3700 | 347800
| KHRP26A3T7 | Refnet branch piping kit | 37 | 4200 | 155400
| KHRP26A7T7 | Refnet branch piping kit | 76 | 7000 | 532000
| KHRP26A7377 + KHRP26M73TP | Refnet branch piping kit | 56 | 17100 | 957600
| BAF82A63 | Outlet Unit | 14 | 166000 | 2324000
| BRC1E63 | Wired Remote Controller (Navigation Remote Controller) | 295 | 10000 | 2950000
| BRC1H63W | Stylish Remote Controller (White) | 17 | 12000 | 204000
| BDU510A250VM | Drain pump kit | 9 | 42100 | 378900
| BAFH82A63 | Hepa Filter | 14 | 105400 | 1475600
| BYB82A63CP | Ceiling Suction Type Panel | 14 | 127800 | 1789200
| BYCQ125EAF | Standard panel(Fresh white) | 35 | 19000 | 665000
| FXAQ63AVM | Dalkin VRV Indoor Unit Wall Mounted Type (VRT SMART) with cooling capacity of 7.1 kW, R-410A refrigerant 220V-1ph-60 Hz | 31 | 53,200.00 | 1,649,200.00
| FXBPQ63PVE | Daikin VRV Clean Room Indoor Unit with cooling capacity of 7.1kW R-410A refrigerant 220V-1ph-60 Hz | 14 | 374,000.00 | 5,236,000.00
| FXFQ100AVM | Daikin VRV Indoor Unit Round Flow Cassette (VRTSMART} with cooling capacity of 11.2 KW. R-410A refrigerant 220V-1ph-50 Hz | 6 | 84,200.00 | 505,200.00
| FXFQ50AVM | Dalkin VRV Indoor Celling Cassette Round Flow (VRT SMART)with cooling capacity of 5.6kw R-410A refrigerant 220V-1ph-60 | 12 | 73,000.00 | 876,000.00
| FXFQ63AVM | Daikin VRV Indoor Ceiling Cassette Round Flow (VRT SMART) with cooling capacity of 7.1 kw. R-410A refrigerant 220V-1ph-60 H | 10 | 74,700.00 | 747,000.00
| FXFQ80AVM | Dalkin VRV Indoor Celling Cassette Round Flow (VRT SMART) with cooling capacity of 9.0 kw. R-410A refrigerant 220V-1ph-60 H | 7 | 82,400.00 | 576,800.00
| FXHQ100MAVE | Daikin VRV Indoor Unit Ceiling Suspended Type with cooling capacity of 11.2 kw, R-410A refrigerant 220V-1ph-60 Hz | 30 | 94,300.00 | 2,829,000.00
| FXHQ125AVM | Daikin VRV Indoor Unit Ceiling Suspended Type with cooling capacity of 14.1 kw, R-410A refrigerant 220V-1ph-60 Hz | 2 | 104,600.00 | 209,200.00
| FXHQ140AVM | Daikin VRV Indoor Unit Celling Suspended Type with cooling capacity of 15.5 kW. R-410A refrigerant 220V-1ph-60 | 2 | 109,800.00 | 219,600.00
| FXHQ63MAVE | Daikin VRV indoor Unit Ceiling Suspended Type with cooling capacity of 7.1 kw. R-410A refrigerant 220V-1ph-60 Hz | 46 | 75,500.00 | 3,473,000.00
| FXMQ100PAVE | Daikin VRV Indoor Ceiling Concealed High Static (VRT SMART) with cooling capacity of 11.2 kw, R-410A refrigerant, 220V-1ph-60 Hz | 3 | 100,500.00 | 301,500.00
| FXMQ200PVM | Daikin VRV indoor Ceiling Concealed High with cooling capacity of 22.4 KW. R-410A refrigerant 220V-1ph-60 Hz | 4 | 207,500.00 | 830,000.00
| FXMQ250PVM | Daikin VRV indoor Ceiling Concealed High Static with cooling capacity of 28.0 kw R-410A refrigerant 220V-1ph-60 Hz | 5 | 220,000.00 | 1,100,000.00
| FXMQ4OPAVE | Daikin VRV Indoor Ceiling Concealed High Static (VRT SMART) with cooling capacity of 4.5 kW, R-410A refrigerant, 220V-1ph-60 H | 1 | 75,800.00 | 75,800.00
| FXMQ72MFVJU | Daikin Outdoor Air Processing unit 8HF (22.4 Kw) cooling capacity; 230V/1ph/6012 | 2 | 332,900.00 | 665,800.00
| FXMQ96MFVJU | Dalkin Outdoor Air Processing unit 10HP (28 Kw) cooling capacity: 230V/1ph/60Hz | 18 | 343,400.00 | 6,181,200.00
| FXVQ250NTL | DAIKIN VRV Indoor Unit Floor Mounted Type10HP. 220V/3ph/60Hz R410A Refrigerant | 7 | 426,500.00 | 2,985,500.00
| FXVQ400NTL | DAIKIN VRV indoor Unit Floor Mounted Type 16HP. 220V/3ph/60Hz 8410A Refrigerant | 4 | 564,200.00 | 2,256,800.00
| FXVQ500NTL | DAIKIN VRV indoor Unit Floor Mounted Type 16HP. 220V/3ph/60Hz 8410A Refrigerant | 6 | 675,700.00 | 4,054,200.00
| VAM1000HVF | Daikin VAM Series 220-240V 50/60Hz. 1ph | 2 | 177,600.00 | 355,200.00
| VAM1500HVE | Daikin VAM Series 220-240V 50/60Hz. 1ph | 6 | 332,700.00 | 1,996,200.00
| AHUR48DBLIY2 | Daikin VRV Air Handling Unit (AHU); 380V/3Ph/60Hz; R410A Refrigerant; Total Cooling Capacity 125.98 kW; Supply Air Volume Flow Rate 7,750 CFM; External Static Pressure (ESP) 373.63 Pa |  | 2300000 | 1,870,000.00
| AHUR60DBLJY2 | Daikin VRV Air Handling Unit (AHU); 380V/3Ph/60Hz; R410A Refrigerant; Total Cooling Capacity 164.16 kW; Supply Air Volume Flow Rate 14,000 CFM; External Static Pressure (ESP) 373,63 Pa |  | 2,500,000.00 | 2,070,000.00
| AHUR48DBLJY2 | Daikin VRV Air Handling Unit (AHU); 380V/3Ph/60Hz; R410A Refrigerant; Total Cooling Capacity 125.98 kW; Supply Air Volume Flow Rate 7,750 CFM; External Static Pressure (ESP) 373.63 Pa |  | 2,100,000.00 | 3,380,000.00
| AHUR48DBVJY2 | Daikin VRV Air Handling Unit (AHU); 380V/3Ph/60Hz; R410A Refrigerant; Total Cooling Capacity 141.02 kW; Supply Air Volume Flow Rate 13,300 CFM; External Static Pressure (ESP) 373.63 Pa |  | 2,200,000.00 | 1,770,000.00
| AHUR60DBLJY2 | Daikin VRV Air Handling Unit (AHU); 380V/3Ph/60Hz; R410A Refrigerant; Total Cooling Capacity 164.16 kW; Supply Air Volume Flow Rate 14,000 CFM; External Static Pressure (ESP) 373.63 Pa |  | 2,400,000.00 | 2,010,000.00
| AHUR60DBVJY2 | Daikin VRV Air Handling Unit (AHU); 380V/3Ph/60Hz; R410A Refrigerant; Total Cooling Capacity 184.11 kW; Supply Air Volume Flow Rate 16,970 CFM; External Static Pressure (ESP) 373.63 Pa |  | 2,200,000.00 | 1,840,000.00
| FHA100CVMA /RZF100CVM | 4.0 HP Inverter Ceiling Suspended Type; 230V/1Ph/60Hz; R32 Refrigerant (with wired remote controller BRC1E63) | 2 | 181,000.00 | 362,000.00
| FHA100CVMA /RZF100CVM | 4.0 HP Inverter Ceiling Suspended Type: 230V/1Ph/60Hz; R32 Refrigerant (with wired remote controller BRC1E63) | 1 | 181000.00 | 181,000.00
| FHA60CVMA /RZF60CVM | 2.5 HP Inverter Ceiling Suspended Type; 230V/1Ph/60Hz; R32 Refrigerant (with wired remote | 1 | 129000.00 | 129,000.00