## Sheet1
PROJECT | : MVB PROJECT
LOCATION | : BAGUIO CITY
SUBJECT | : MECHANICAL BILL OF QUANTITIES
Item | Description | Qty | Unit | Total Unit Cost
|  |  |  | Cost | Total Cost
MECHANICAL WORKS
2 | VENTILATING FANS
| TEF-1 : Ceiling Casette @50cfm | 248 | Units
| EF -1 : Ceiling Casette @100cfm | 7 | Units
| EF -2 : Ceiling Casette @ 150cfm | 3 | Units
| EF -3 : Vane Axial Tubular Fan @ 6700cfm | 2 | Units
| EF -4 : SWSI Centrifugal fan @ 32300cfm | 1 | Units
| EF -5 : Vane Axial Tubular fan @ 3300cfm | 1 | Units
| EF -5 : Vane Axial Tubular fan @ 3300cfm | 1 | Units
| EF -6 : Vane Axial Tubular fan @ 600cfm | 1 | Units
| EF -7 : Vane Axial Tubular fan @ 1900cfm | 1 | Units
| EF -8 : Vane Axial Tubular fan @ 1150cfm | 1 | Units
| EF -9 : Centri Inline Duct fan @ 500cfm | 1 | Units
| EF -10 : Centri Inline Duct fan @ 530cfm | 1 | Units
| EF -11 : Centri Inline Duct fan @ 100cfm | 12 | Units
| EF -12 : Centri Inline Duct fan @ 950cfm | 2 | Units
| EF -13 : Centri Inline Duct fan @ 300cfm | 2 | Units
| EF -14 : Vane Axial Fan @ 1000cfm | 1 | Units
| EF -15 : Vane Axial Fan @ 2282cfm | 1 | Units
| EF -16 : Vane Axial Fan @ 1545cfm | 1 | Units
| EF -17 : Centri Inline Duct Fan @ 250cfm | 4 | Units
| EF -18 : Centri Inline Duct Fan @ 450cfm | 1 | Units
| EF -19 : Centri Inline Duct Fan @ 400cfm | 1 | Units
| EF -20 : Centri Inline Duct Fan @ 400cfm | 2 | Units
| EF -21 : Vane Axial Tubular Fan @ 200cfm | 1 | Units
| KEF-1 : SWSI Centrifugal Fan @ 4750cfm | 1 | Units
| KEF-2 : SWSI Centrifugal Fan @ 3350 cfm | 1 | Units
| KEF-3 : SWSI Centrifugal Fan @ 650 cfm | 1 | Units
| KEF-4 : SWSI Centrifugal Fan @ 2900 cfm | 1 | Units
| SEF-5 : SWSI Centrifugal Fan @ 12750 cfm | 4 | Units
| Sidewall Type (57⁰C to 74⁰C) k=8.1 |  | no.
2.0-Sub Total
3 | VENTILATING FANS
| FAF-1 : Vane Axial Tubular Fan @ 6700 cfm | 1 | Units
| FAF-2 : Vane Axial Tubular Fan @ 3300 cfm | 1 | Units
| FAF-3 : Vane Axial Tubular Fan @ 3800 cfm | 1 | Units
| FAF-4 : Vane Axial Tubular Fan @ 2850 cfm | 1 | Units
| FAF-5 : Vane Axial Tubular Fan @ 1100 cfm | 1 | Units
| FAF-6 : Centri Inline Duct Fan @ 163 cfm | 1 | Units
| FAF-7 : Centri Inline Duct Fan @ 64 cfm | 1 | Units
| FAF-8 : Vane Axial Tubular Fan @ 2282 cfm | 1 | Units
| FAF-9 : Vane Axial Tubular Fan @ 1395 cfm | 1 | Units
| FAF-10 : Vane Axial Tubular Fan @ 3350 cfm | 1 | Units
| FAF-11 : Vane Axial Tubular Fan @ 650 cfm | 2 | Units
| FAF-12 : Centri Inline Tubular Fan @ 250 cfm | 9 | Units
| FAF-13 : Vane Axial Tubular Fan @ 2900 cfm | 1 | Units
| PAF-1 : SWSI Centrifugal Fan @ 6300 cfm | 6 | Units
| JF-1 : Induced Jet Fan @ 3600 cfm | 9 | Units
| OF-1 : Propeller (3 SPEED) @ 40cm Fan Blade | 4 | Units
A-Sub Total
C.
no.
no.
no.
Alarm Check Valve (Flanged End)
| 150 mmф |  | no.
Foot Valve w/ strainer
| 150 mmф |  | no.
| 50 mmф |  | no.
Pressure Relief Valve
| 150 mm Ø |  | no.
C-Sub Total
D.
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
D-Sub Total
3.0-Sub Total
4
|  |  |  | #REF! | #REF!
| 4.0-Sub Total |  |  | #REF! | #REF!
F. | Testing & Commissioning | 1 | lot
F-Sub Total
Total Cost
TOTAL AMOUNT COST
.