## MVB-MECH-SUMMARY
PROJECT | : MVB PROJECT
LOCATION | : BAGUIO CITY
SUBJECT | : MECHANICAL BILL OF QUANTITIES
Item | Description | Qty | Unit |  | Material Cost
|  |  |  | CODE | Unit Cost | Total Cost
MECHANICAL WORKS
1 | VARIABLE REFRIGERANT VOLUME EQP.
| VRV 40.0HP ; 380V , 3Phase , 60Hz | 5 | Units | RXUQ40AMYM | 1860200 | 9301000
| VRV 24.0HP ; 380V , 3Phase , 60Hz | 2 | Units | RXUQ24AMYM | 1042400 | 2084800
| VRV 16.0HP ; 380V , 3Phase , 60Hz | 1 | Units | RXUQ16AYM | 816800 | 816800
| VRV 30.0HP ; 380V , 3Phase , 60Hz | 4 | Units | RXUQ30AMYM | 1392600 | 5570400
| VRV 20.0HP ; 380V , 3Phase , 60Hz | 1 | Units | RXUQ20AM1YM | 1075800 | 1075800
| VRV 32.0HP ; 380V , 3Phase , 60Hz | 5 | Units | RXUQ32AMYM | 1451300 | 7256500
| VRV 34.0HP ; 380V , 3Phase , 60Hz | 1 | Units | RXUQ34AMYM | 1679400 | 1679400
| VRV 6.0HP ; 380V , 3Phase , 60Hz | 1 | Units | RXUQ6AYM | 330100 | 330100
| VRV 36.0HP ; 380V , 3Phase , 60Hz | 2 | Units | RXUQ36AMYM | 1746900 | 3493800
| VRV 18.0HP ; 380V , 3Phase , 60Hz | 2 | Units | RXUQ18AM1YM | 990300 | 1980600
| VRV 28.0HP ; 380V , 3Phase , 60Hz | 2 | Units | RXUQ28AMYM | 1338000 | 2676000
| A-Sub Total |  |  |  | 7536000 | 36265200
B. | Air Handling Unit/ Fan Coil Unit
| FCU-1; Ceiling Concealed Ducted Type; 10.0 HP : 3000cfm | 25 | Units | FXMQ96MFVJU | 327000 | 8175000
| FCU-2; Ceiling Suspended Free BlowType; 4.0 HP : 1200cfm | 5 | Units | FXHQ100MAVE | 89800 | 449000
| FCU-3; Wall Mounted Free BlowType; 2.0 HP : 600cfm | 1 | Units | FXAQ50AVM | 49500 | 49500
| FCU-4; Wall Mounted Free BlowType; 1.5 HP : 450cfm | 3 | Units | FXAQ40AVM | 48700 | 146100
| FCU-7; Wall Mounted Free BlowType; 1.0 HP : 300cfm | 6 | Units | FXAQ25AVM | 46900 | 281400
| FCU-6; 4-WAY Ceiling Cassette Free Blow Type; | 15 | Units | FXFQ125AVM | 81800 | 1227000
5.0HP ; 1500cfm
| FCU-5; 4-WAY Ceiling Cassette Free Blow Type; | 18 | Units | FXFQ80AVM | 78500 | 1413000
3.2HP ; 960cfm
| FCU-9; 4-WAY Ceiling Cassette Free Blow Type; | 18 | Units | FXFQ100AVM | 80200 | 1443600
4.0HP ; 1200cfm
| FCU-10; Wall Mounted Free Blow Type; | 6 | Units | FXFQ63AVM | 50700 | 304200
2.5HP : 750cfm
| FCU-8; 2-WAY Ceiling Casette Blow Type; | 6 | Units | FXCQ125AVM | 170300 | 1021800
5.0HP : 1500cfm
| FCU-11; 4-WAY Ceiling Casette Blow Type; | 25 | Units | FXFQ63AVM | 71100 | 1777500
2.5HP : 750cfm
| FCU-12; Ceiling Concealed Ducted Type; | 18 | Units | FXMQ72MFVJU | 317000 | 5706000
8.0HP : 2400cfm
| FCU-14 ; Wall Mounted Free Blow Type; | 1 | Units | FXAQ20AVM | 46000 | 46000
0.75HP : 225cfm
| FCU-13 ; 4-WAY Ceiling Cassette Free Blow Type; | 3 | Units | FXAQ50AVM | 49500 | 148500
2.0HP : 600cfm
| FCU-15 ; Ceiling Concealed Ducted Type; | 4 | Units | FXSQ125PAVE | 170300 | 681200
5.0HP : 1500cfm
Fan Coil Unit Split Type w/ ACCU
| FCU, ACCU -A : Ceiling Concealed Ducted Type : 1.64kw ; 1 Phase , 60Hz , 2.0HP @ 600cfm | 248 | Units | FBA50BVMA / RZF50CVM | 100000 | 24800000
| FCU, ACCU -B : Ceiling Concealed Ducted Type : 1.35kw ; 1 Phase , 60Hz , 1.5HP @ 450cfm | 1 | Units | FBA50BVMA / RZF50CVM | 100000 | 100000
| FCU, ACCU -C : Ceiling Concealed Ducted Type : 3.01 kw ; 1 Phase , 60Hz , 3.2HP @ 960cfm | 1 | Units | FBA100BVMA / RZF100CVM | 172000 | 172000
| FCU, ACCU -D : Ceiling Concealed Ducted Type : 4.44 kw ; 1 Phase , 60Hz , 4.0HP @ 1200cfm | 1 | Units | FBA100BVMA / RZF100CVM | 172000 | 172000
| Accesories | 1 | Lots |  |  | 4643300
| B-Sub Total |  |  |  |  | 52757100
1.0-Sub Total
2 | VENTILATING FANS
| TEF-1 : Ceiling Casette @50cfm | 248 | Units
| EF -1 : Ceiling Casette @100cfm | 7 | Units
| EF -2 : Ceiling Casette @ 150cfm | 3 | Units
| EF -3 : Vane Axial Tubular Fan @ 6700cfm | 2 | Units
| EF -4 : SWSI Centrifugal fan @ 32300cfm | 1 | Units
| EF -5 : Vane Axial Tubular fan @ 3300cfm | 1 | Units
| EF -5 : Vane Axial Tubular fan @ 3300cfm | 1 | Units
| EF -6 : Vane Axial Tubular fan @ 600cfm | 1 | Units
| EF -7 : Vane Axial Tubular fan @ 1900cfm | 1 | Units
| EF -8 : Vane Axial Tubular fan @ 1150cfm | 1 | Units
| EF -9 : Centri Inline Duct fan @ 500cfm | 1 | Units
| EF -10 : Centri Inline Duct fan @ 530cfm | 1 | Units
| EF -11 : Centri Inline Duct fan @ 100cfm | 12 | Units
| EF -12 : Centri Inline Duct fan @ 950cfm | 2 | Units
| EF -13 : Centri Inline Duct fan @ 300cfm | 2 | Units
| EF -14 : Vane Axial Fan @ 1000cfm | 1 | Units
| EF -15 : Vane Axial Fan @ 2282cfm | 1 | Units
| EF -16 : Vane Axial Fan @ 1545cfm | 1 | Units
| EF -17 : Centri Inline Duct Fan @ 250cfm | 4 | Units
| EF -18 : Centri Inline Duct Fan @ 450cfm | 1 | Units
| EF -19 : Centri Inline Duct Fan @ 400cfm | 1 | Units
| EF -20 : Centri Inline Duct Fan @ 400cfm | 2 | Units
| EF -21 : Vane Axial Tubular Fan @ 200cfm | 1 | Units
| KEF-1 : SWSI Centrifugal Fan @ 4750cfm | 1 | Units
| KEF-2 : SWSI Centrifugal Fan @ 3350 cfm | 1 | Units
| KEF-3 : SWSI Centrifugal Fan @ 650 cfm | 1 | Units
| KEF-4 : SWSI Centrifugal Fan @ 2900 cfm | 1 | Units
| SEF-5 : SWSI Centrifugal Fan @ 12750 cfm | 4 | Units
| Sidewall Type (57⁰C to 74⁰C) k=8.1 |  | no.
2.0-Sub Total
3 | VENTILATING FANS
| FAF-1 : Vane Axial Tubular Fan @ 6700 cfm | 1 | Units
| FAF-2 : Vane Axial Tubular Fan @ 3300 cfm | 1 | Units
| FAF-3 : Vane Axial Tubular Fan @ 3800 cfm | 1 | Units
| FAF-4 : Vane Axial Tubular Fan @ 2850 cfm | 1 | Units
| FAF-5 : Vane Axial Tubular Fan @ 1100 cfm | 1 | Units
| FAF-6 : Centri Inline Duct Fan @ 163 cfm | 1 | Units
| FAF-7 : Centri Inline Duct Fan @ 64 cfm | 1 | Units
| FAF-8 : Vane Axial Tubular Fan @ 2282 cfm | 1 | Units
| FAF-9 : Vane Axial Tubular Fan @ 1395 cfm | 1 | Units
| FAF-10 : Vane Axial Tubular Fan @ 3350 cfm | 1 | Units
| FAF-11 : Vane Axial Tubular Fan @ 650 cfm | 2 | Units
| FAF-12 : Centri Inline Tubular Fan @ 250 cfm | 9 | Units
| FAF-13 : Vane Axial Tubular Fan @ 2900 cfm | 1 | Units
| PAF-1 : SWSI Centrifugal Fan @ 6300 cfm | 6 | Units
| JF-1 : Induced Jet Fan @ 3600 cfm | 9 | Units
| OF-1 : Propeller (3 SPEED) @ 40cm Fan Blade | 4 | Units
A-Sub Total
B. | ENERGY RECOVERY VENTILATOR
| ERV-1 : SUP-495cfm : EXH- 495cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-2 : SUP-440cfm : EXH- 440cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-3 : SUP-870cfm : EXH- 870cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-4 : SUP-548cfm : EXH- 548cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-5 : SUP-165cfm : EXH- 165cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-6 : SUP-240cfm : EXH- 240cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-7 : SUP-760cfm : EXH- 760cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-8 : SUP-710cfm : EXH- 710cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-9 : SUP-365cfm : EXH- 365cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-9 : SUP-710cfm : EXH- 710cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-10 : SUP-510cfm : EXH- 510cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-11 : SUP-170cfm : EXH- 170cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-12 : SUP-480cfm : EXH- 480cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-13 : SUP-145cfm : EXH- 145cfm TYPE : Heat Exchanger | 1 | Units | VAM1500HVE | 316900 | 316900
| ERV-14 : SUP-600cfm : EXH- 600cfm TYPE : Heat Exchanger | 2 | Units | VAM1500HVE | 316900 | 633800
| ERV-15 : SUP-800cfm : EXH- 800cfm TYPE : Heat Exchanger | 3 | Units | VAM1500HVE | 316900 | 950700
| ERV REMOTE | 1 | Units | BRC1H62W | 11000 | 209000
| B-Sub Total |  |  |  |  | 6230100
C. | MECHANICAL WORKS
Ventilation
Sheets
1 | G.I. Sheet
| Gauge #26 | 405 | sht/s
| Gauge #24 | 158 | sht/s |  |  |  | 14
| Gauge #22 | 9 | sht/s |  |  |  | 8
| Gauge #18 | 30 | sht/s
| Insulation Foam 1m x 25m x 25m thk | 60 | roll/s
2 | B.I. Sheet
| BI #16 | 10 | sht/s
| Fiberglass insulation, 2" thickness , 1m x 25m | 5 | sq.m
3 | Air terminal & outlets
Volume Damper w/ Collar Damper
| VD 100 x 100 | 21 | no/s
| VD 150 x 150 | 45 | no/s
| VD 150 x 100 | 15 | no/s
| VD 200 x 200 | 29 | no/s
| VD 200 x 150 | 9 | no/s
| VD 250 x 200 | 5 | no/s
| VD 250 x 250 | 2 | no/s
| VD 300 x 250 | 46 | no/s
| VD 300 x 200 | 11 | no/s
| VD 350 x 300 | 5 | no/s
| VD 400 x 250 | 3 | no/s
| VD 2000x1000 | 12 | no/s
Fresh Air Grille
| FAG 950 x 550 | 1 | no/s
| FAG 800 x 450 | 1 | no/s
| FAG 600 x 550 | 1 | no/s
| FAG 650 x 450 | 1 | no/s
| FAG 550 x 550 | 1 | no/s
| FAG 550 x 450 | 1 | no/s
| FAG 450 x 350 | 1 | no/s
| FAG 350 x 350 | 4 | no/s
| FAG 350 x 300 | 5 | no/s
| FAG 300 x 250 | 1 | no/s
| FAG 300 x 300 | 8 | no/s
| FAG 250 x 250 | 10 | no/s
| FAG 250 x 200 | 2 | no/s
| FAG 200 x 200 | 1 | no/s
| FAG 200 x 150 | 1 | no/s
Fresh Air Grille w/ cfm
| FAG 400 x 300 @350cfm | 1 | no/s
| FAG 300 x 300 @300cfm | 2 | no/s
| FAG 300 x 300 @400cfm | 7 | no/s
| FAG 300 x 300 @356cfm | 8 | no/s
| FAG 300 x 300 @310cfm | 3 | no/s
| FAG 300 x 300 @290cfm | 3 | no/s
| FAG 300 x 300 @253cfm | 3 | no/s
| FAG 300 x 300 @170cfm | 4 | no/s
| FAG 300 x 300 @240cfm | 2 | no/s
| FAG 200 x 200 @155cfm | 2 | no/s
| FAG 200 x 200 @145cfm | 1 | no/s
| FAG 200 x 200 @125cfm | 18 | no/s
| FAG 200 x 200 @110cfm | 2 | no/s
| FAG 150 x 150 @32cfm | 2 | no/s
| FAG 150 x 150 @50cfm | 1 | no/s
| FAG 150 x 150 @25cfm | 1 | no/s
| FAG 150 x 100 @72cfm | 1 | no/s
| FAG 150 x 100 @70cfm | 1 | no/s
| FAG Bell Mouth 400 x 400 @548cfm | 4 | no/s
Fresh Air Diffuser w/ cfm
| FAD 300 x 300 @300cfm | 2 | no/s
| FAD 300 x 250 @650cfm | 1 | no/s
| FAD 200 x 200 @125cfm | 2 | no/s
| FAD 150 x 150 @95cfm | 2 | no/s
| FAD 150 x 150 @100cfm | 1 | no/s
| FAD 150 x 150 @150cfm | 2 | no/s
| FAD 150 x 150 @50cfm | 1 | no/s
| FAD 150 x 100 @70cfm | 1 | no/s
| FAD 150 x 100 @72cfm | 3 | no/s
| FAD 100 x 100 @45cfm | 1 | no/s
Exhaust Air Grille
| EAG 950 x 550 | 1 | no/s
| EAG 600 x 550 | 1 | no/s
| EAG 650 x 350 | 1 | no/s
| EAG 550 x 350 | 2 | no/s
| EAG 550 x 450 | 1 | no/s
| EAG 450 x 350 | 2 | no/s
| EAG 400 x 350 | 1 | no/s
| EAG 350 x 350 | 3 | no/s
| EAG 350 x 300 | 4 | no/s
| EAG 300 x 300 | 10 | no/s
| EAG 300 x 250 | 2 | no/s
| EAG 250 x 250 | 7 | no/s
| EAG 250 x 200 | 3 | no/s
| EAG 200 x 200 | 12 | no/s
| EAG 2500 x 200 | 1 | no/s
| EAG 1550 X 1050 | 1 | no/s
Exhaust Air Grille w/ cfm
| EAG 400 x 400 @800cfm | 6 | no/s
| EAG 400 x 400 @600cfm | 1 | no/s
| EAG 400 x 400 @640cfm | 1 | no/s
| EAG 400 x 400 @548cfm | 4 | no/s
| EAG 400 x 350 @870cfm | 1 | no/s
| EAG 300 x 300 @525cfm | 5 | no/s
| EAG 300 x 300 @480cfm | 1 | no/s
| EAG 300 x 300 @310cfm | 4 | no/s
| EAG 300 x 300 @300cfm | 3 | no/s
| EAG 300 x 300 @225cfm | 4 | no/s
| EAG 300 x 300 @250cfm | 1 | no/s
| EAG 300 x 300 @200cfm | 11 | no/s
| EAG 300 x 300 @190cfm | 1 | no/s
| EAG 300 x 300 @165cfm | 1 | no/s
| EAG 300 x 300 @175cfm | 3 | no/s
| EAG 300 x 300 @170cfm | 2 | no/s
| EAG 300 x 300 @150cfm | 1 | no/s
| EAG 300 x 300 @155cfm | 1 | no/s
| EAG 200 x 200 @100cfm | 15 | no/s
| EAG 200 x 200 @150cfm | 10 | no/s
| EAG 200 x 200 @155cfm | 1 | no/s
| EAG 200 x 200 @145cfm | 1 | no/s
| EAG 200 x 200 @125cfm | 4 | no/s
| EAG 200 x 200 @110cfm | 2 | no/s
| EAG 200 x 200 @95cfm | 1 | no/s
| EAG 200 x 200 @80cfm | 1 | no/s
| EAG 200 x 200 @70cfm | 5 | no/s
| EAG 200 X 200 60cfm | 2 | no/s
| EAG 200 x 200 @50cfm | 51 | no/s
| EAG 200 x 150 @120cfm | 1 | no/s
| EAG 150 x 150 @50cfm | 2 | no/s
| EAG 150 x 150 @25cfm | 2 | no/s
| EAG Bell mouth 850x750 @3350cfm | 1 | no/s
Supply Air Diffuser
| SCD 400X400 @750cfm | 4 | no/s
| SCD 400X400 @600cfm | 19 | no/s
| SCD 400X400 @500cfm | 17 | no/s
| SCD 400X400 @480CFM | 11 | no/s
| SCD 400X400 @400CFM | 6 | no/s
| SCD 400X400 @375CFM | 16 | no/s
| RAG 1000X500 | 12 | no/s
| RAG 1200X200 | 9 | no/s
Pressurization Air
Elevator
| Gauge #24 | 220 | sht/s
| PAG 1000 x 1000 Bell Mouth w/ Insect Screen | 2 | no/s
| PAG 700 x 700 @6300CFM | 18 | no/s
| VD 650 x 650 w/ motorize | 18 | no/s
| Backdraft Damper | 2 | no/s
Stair ways
| Gauge #22 | 210 | sht/s
| PAG 1000 x 1000 Bell Mouth w/ Insect Screen | 2 | no/s
| VD 350 x 300 w/ motorize | 18 | no/s
| PAG 350x300 @700cfm | 18 | no/s
| Backdraft Damper | 2 | no/s
| Gauge #22 | 250 | sht/s
| PAG 1000 x 1000 Bell Mouth w/ Insect Screen | 2 | no/s
| PAG 350 x 300 @700cfm | 18 | no/s
| VD 350 x 300 w/ motorize | 18 | no/s
| Backdraft Damper | 2 | no/s
Smoke Exhaust
| Gauge #20 | 200 | sht/s
| Gauge #22 | 60 | sht/s
| SEG 2000 x 1000 @8500cfm | 18 | no/s
| VD w/ motorize 2000x1000 | 18 | no/s
| SEG 1300 x 1300 Bell Mouth w/ Insect screen | 4 | no/s
| Backdraft Damper | 2 | no/s
| 1200X2-SLOT LINEAR SAD @500CFM | 72 | no/s
| Flexible Duct 250mm x 10m | 50 | no/s
| Flexible Duct 200mm x 6m | 100 | no/s
| Flexible Duct 150mm x 6m | 450 | no/s
PVC for Exhaust Fan
PVC pipe
| 100 mmø | 20273 | lgt
Elbow 90
| 100 mmø | 500 | no/s
| Vent Cap, Aluminum 100 mmø | 250 | no/s
Copper pipes x 6m
| 1.625 | 71 | lgt
| 0.75 | 113 | lgt
| 1.375 | 40 | lgt
| 1.125 | 13 | lgt
| 0.5 | 560 | lgt
| 0.25 | 505 | lgt
| 0.625 | 78 | lgt
| 0.375 | 134 | lgt
| 0.875 | 73 | lgt
Elbow 90
| 1.625 | 76 | no/s
| 0.75 | 81 | no/s
| 1.375 | 19 | no/s
| 0.5 | 620 | no/s
| 0.25 | 711 | no/s
| 1.125 | 13 | no/s
| 0.625 | 95 | no/s
| 0.375 | 110 | no/s
| 0.875 | 29 | no/s
Coupling
| 1.625 | 13 | no/s
| 0.75 | 19 | no/s
| 1.375 | 7 | no/s
| 0.5 | 95 | no/s
| 0.25 | 86 | no/s
| 1.125 | 4 | no/s
| 0.625 | 16 | no/s
| 0.375 | 25 | no/s
| 0.875 | 14 | no/s
Rubber Insulation Foam, thickness x 2m
| 1.625 | 213 | lgt
| 0.75 | 349 | lgt
| 1.375 | 120 | lgt
| 1.125 | 40 | lgt
| 0.5 | 1680 | lgt
| 0.25 | 1515 | lgt
| 0.625 | 234 | lgt
| 0.375 | 402 | lgt
| 0.875 | 219 | lgt
Consumables
| Ref. Hanger | 1 | Lot
| Vibrator Isolator |  | Lot
| Nitrogen | 1 | cycl
| Refrigerant R-410 (Using for Flushing) |  | kg
| Control Wire | 1 | lot
| THHN #14 |  | lm
| EMT |  | lm
| ECB and wires | 1 | lot
Sleeves
| 100mm Ø | 1 | lot
| Fire Sealant | 60 | pcs
| Oakum Packing | 4 | Sacks
| Testing and Commissioning | 1 | lot
C.
no.
no.
no.
Alarm Check Valve (Flanged End)
| 150 mmф |  | no.
Foot Valve w/ strainer
| 150 mmф |  | no.
| 50 mmф |  | no.
Pressure Relief Valve
| 150 mm Ø |  | no.
C-Sub Total
D.
[5 empty] | #REF! | #REF!
[5 empty] | #REF! | #REF!
[5 empty] | #REF! | #REF!
[5 empty] | #REF! | #REF!
D-Sub Total
3.0-Sub Total
4
[5 empty] | #REF! | #REF!
| 4.0-Sub Total |  |  |  | #REF! | #REF!
F. | Testing & Commissioning | 1 | lot
F-Sub Total
Total Cost
TOTAL AMOUNT COST
.

## Coppers & Fittings
PROJECT | : MVB PROJECT
LOCATION | : BAGUIO CITY
SUBJECT | : MECHANICAL BILL OF QUANTITIES
Item | Description | Qty | Unit | Material Cost
|  |  |  | Unit Cost | Total Cost
B-Sub Total
C. | MECHANICAL WORKS
Copper pipes x 6m
| 1.625 | 71 | lgt
| 0.75 | 113 | lgt
| 1.375 | 40 | lgt
| 1.125 | 13 | lgt
| 0.5 | 560 | lgt
| 0.25 | 505 | lgt
| 0.625 | 78 | lgt
| 0.375 | 134 | lgt
| 0.875 | 73 | lgt
Elbow 90
| 1.625 | 76 | no/s
| 0.75 | 81 | no/s
| 1.375 | 19 | no/s
| 0.5 | 620 | no/s
| 0.25 | 711 | no/s
| 1.125 | 13 | no/s
| 0.625 | 95 | no/s
| 0.375 | 110 | no/s
| 0.875 | 29 | no/s
Coupling
| 1.625 | 13 | no/s
| 0.75 | 19 | no/s
| 1.375 | 7 | no/s
| 0.5 | 95 | no/s
| 0.25 | 86 | no/s
| 1.125 | 4 | no/s
| 0.625 | 16 | no/s
| 0.375 | 25 | no/s
| 0.875 | 14 | no/s
Rubber Insulation Foam, thickness x 2m
| 1.625 | 213 | lgt
| 0.75 | 349 | lgt
| 1.375 | 120 | lgt
| 1.125 | 40 | lgt
| 0.5 | 1680 | lgt
| 0.25 | 1515 | lgt
| 0.625 | 234 | lgt
| 0.375 | 402 | lgt
| 0.875 | 219 | lgt
C.
no.
no.
no.
Alarm Check Valve (Flanged End)
| 150 mmф |  | no.
Foot Valve w/ strainer
| 150 mmф |  | no.
| 50 mmф |  | no.
Pressure Relief Valve
| 150 mm Ø |  | no.
C-Sub Total
D.
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
D-Sub Total
3.0-Sub Total
4
|  |  |  | #REF! | #REF!
| 4.0-Sub Total |  |  | #REF! | #REF!
F. | Testing & Commissioning | 1 | lot
F-Sub Total
Total Cost
TOTAL AMOUNT COST
.

## ACCU,FCU, VRV & ERV
PROJECT | : MVB PROJECT
LOCATION | : BAGUIO CITY
SUBJECT | : MECHANICAL BILL OF QUANTITIES
Item | Description | Qty | Unit |  |  | Total Unit Cost
[6 empty] | Cost | Total Cost
MECHANICAL WORKS
1 | VARIABLE REFRIGERANT VOLUME EQP.
| VRV 40.0HP ; 380V , 3Phase , 60Hz | 5 | Units
| VRV 24.0HP ; 380V , 3Phase , 60Hz | 2 | Units
| VRV 16.0HP ; 380V , 3Phase , 60Hz | 1 | Units
| VRV 30.0HP ; 380V , 3Phase , 60Hz | 4 | Units
| VRV 20.0HP ; 380V , 3Phase , 60Hz | 1 | Units
| VRV 32.0HP ; 380V , 3Phase , 60Hz | 5 | Units | 0.83333 | pcs
| VRV 34.0HP ; 380V , 3Phase , 60Hz | 1 | Units | 130 | pcs
| VRV 6.0HP ; 380V , 3Phase , 60Hz | 1 | Units | 130 | pcs
| VRV 36.0HP ; 380V , 3Phase , 60Hz | 2 | Units | 20 | pcs
| VRV 18.0HP ; 380V , 3Phase , 60Hz | 2 | Units | 40 | pcs
| VRV 28.0HP ; 380V , 3Phase , 60Hz | 2 | Units | 110 | pcs
|  |  |  | 500 | pcs
| A-Sub Total |  |  |  |  | 0 | 0
B. | Air Handling Unit/ Fan Coil Unit
| FCU-1; Ceiling Concealed Ducted Type; 10.0 HP : 3000cfm | 25 | Units
| FCU-2; Ceiling Suspended Free BlowType; 4.0 HP : 1200cfm | 5 | Units
| FCU-3; Wall Mounted Free BlowType; 2.0 HP : 600cfm | 1 | Units
| FCU-4; Wall Mounted Free BlowType; 1.5 HP : 450cfm | 3 | Units
| FCU-7; Wall Mounted Free BlowType; 1.0 HP : 300cfm | 6 | Units
| FCU-6; 4-WAY Ceiling Cassette Free Blow Type; | 15 | Units
5.0HP ; 1500cfm
| FCU-5; 4-WAY Ceiling Cassette Free Blow Type; | 18 | Units
3.2HP ; 960cfm
| FCU-9; 4-WAY Ceiling Cassette Free Blow Type; | 18 | Units
4.0HP ; 1200cfm
| FCU-10; Wall Mounted Free Blow Type; | 6 | Units
2.5HP : 750cfm
| FCU-8; 2-WAY Ceiling Casette Blow Type; | 6 | Units
5.0HP : 1500cfm
| FCU-11; 4-WAY Ceiling Casette Blow Type; | 25 | Units
2.5HP : 750cfm
| FCU-12; Ceiling Concealed Ducted Type; | 18 | Units
8.0HP : 2400cfm
| FCU-14 ; Wall Mounted Free Blow Type; | 1 | Units
0.75HP : 225cfm
| FCU-13 ; 4-WAY Ceiling Cassette Free Blow Type; | 3 | Units
2.0HP : 600cfm
| FCU-15 ; Ceiling Concealed Ducted Type; | 4 | Units
5.0HP : 1500cfm
Fan Coil Unit Split Type w/ ACCU
| FCU, ACCU -A : Ceiling Concealed Ducted Type : 1.64kw ; | 248 | Units
1 Phase , 60Hz , 2.0HP @ 600cfm
| FCU, ACCU -B : Ceiling Concealed Ducted Type : 1.35kw ; | 1 | Units
1 Phase , 60Hz , 1.5HP @ 450cfm
| FCU, ACCU -C : Ceiling Concealed Ducted Type : 3.01 kw ; | 1 | Units
1 Phase , 60Hz , 3.2HP @ 960cfm
| FCU, ACCU -D : Ceiling Concealed Ducted Type : 4.44 kw ; | 1 | Units
1 Phase , 60Hz , 4.0HP @ 1200cfm
B-Sub Total
1.0-Sub Total
B. | ENERGY RECOVERY VENTILATOR
| ERV-1 : SUP-495cfm : EXH- 495cfm TYPE : Heat Exchanger | 1 | Units
| ERV-2 : SUP-440cfm : EXH- 440cfm TYPE : Heat Exchanger | 1 | Units
| ERV-3 : SUP-870cfm : EXH- 870cfm TYPE : Heat Exchanger | 1 | Units
| ERV-4 : SUP-548cfm : EXH- 548cfm TYPE : Heat Exchanger | 1 | Units
| ERV-5 : SUP-165cfm : EXH- 165cfm TYPE : Heat Exchanger | 1 | Units
| ERV-6 : SUP-240cfm : EXH- 240cfm TYPE : Heat Exchanger | 1 | Units
| ERV-7 : SUP-760cfm : EXH- 760cfm TYPE : Heat Exchanger | 1 | Units
| ERV-8 : SUP-710cfm : EXH- 710cfm TYPE : Heat Exchanger | 1 | Units
| ERV-9 : SUP-365cfm : EXH- 365cfm TYPE : Heat Exchanger | 1 | Units
| ERV-9 : SUP-710cfm : EXH- 710cfm TYPE : Heat Exchanger | 1 | Units
| ERV-10 : SUP-510cfm : EXH- 510cfm TYPE : Heat Exchanger | 1 | Units
| ERV-11 : SUP-170cfm : EXH- 170cfm TYPE : Heat Exchanger | 1 | Units
| ERV-12 : SUP-480cfm : EXH- 480cfm TYPE : Heat Exchanger | 1 | Units
| ERV-13 : SUP-145cfm : EXH- 145cfm TYPE : Heat Exchanger | 1 | Units
| ERV-14 : SUP-600cfm : EXH- 600cfm TYPE : Heat Exchanger | 2 | Units
| ERV-15 : SUP-800cfm : EXH- 800cfm TYPE : Heat Exchanger | 3 | Units
B-Sub Total
C.
no.
no.
no.
Alarm Check Valve (Flanged End)
| 150 mmф |  | no.
Foot Valve w/ strainer
| 150 mmф |  | no.
| 50 mmф |  | no.
Pressure Relief Valve
| 150 mm Ø |  | no.
C-Sub Total
D.
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
[6 empty] | #REF! | #REF!
D-Sub Total
3.0-Sub Total
4
[6 empty] | #REF! | #REF!
| 4.0-Sub Total |  |  |  |  | #REF! | #REF!
F. | Testing & Commissioning | 1 | lot
F-Sub Total
Total Cost
TOTAL AMOUNT COST
.

## Fan and Blowers
PROJECT | : MVB PROJECT
LOCATION | : BAGUIO CITY
SUBJECT | : MECHANICAL BILL OF QUANTITIES
Item | Description | Qty | Unit | Total Unit Cost
|  |  |  | Cost | Total Cost
MECHANICAL WORKS
2 | VENTILATING FANS
| TEF-1 : Ceiling Casette @50cfm | 248 | Units
| EF -1 : Ceiling Casette @100cfm | 7 | Units
| EF -2 : Ceiling Casette @ 150cfm | 3 | Units
| EF -3 : Vane Axial Tubular Fan @ 6700cfm | 2 | Units
| EF -4 : SWSI Centrifugal fan @ 32300cfm | 1 | Units
| EF -5 : Vane Axial Tubular fan @ 3300cfm | 1 | Units
| EF -5 : Vane Axial Tubular fan @ 3300cfm | 1 | Units
| EF -6 : Vane Axial Tubular fan @ 600cfm | 1 | Units
| EF -7 : Vane Axial Tubular fan @ 1900cfm | 1 | Units
| EF -8 : Vane Axial Tubular fan @ 1150cfm | 1 | Units
| EF -9 : Centri Inline Duct fan @ 500cfm | 1 | Units
| EF -10 : Centri Inline Duct fan @ 530cfm | 1 | Units
| EF -11 : Centri Inline Duct fan @ 100cfm | 12 | Units
| EF -12 : Centri Inline Duct fan @ 950cfm | 2 | Units
| EF -13 : Centri Inline Duct fan @ 300cfm | 2 | Units
| EF -14 : Vane Axial Fan @ 1000cfm | 1 | Units
| EF -15 : Vane Axial Fan @ 2282cfm | 1 | Units
| EF -16 : Vane Axial Fan @ 1545cfm | 1 | Units
| EF -17 : Centri Inline Duct Fan @ 250cfm | 4 | Units
| EF -18 : Centri Inline Duct Fan @ 450cfm | 1 | Units
| EF -19 : Centri Inline Duct Fan @ 400cfm | 1 | Units
| EF -20 : Centri Inline Duct Fan @ 400cfm | 2 | Units
| EF -21 : Vane Axial Tubular Fan @ 200cfm | 1 | Units
| KEF-1 : SWSI Centrifugal Fan @ 4750cfm | 1 | Units
| KEF-2 : SWSI Centrifugal Fan @ 3350 cfm | 1 | Units
| KEF-3 : SWSI Centrifugal Fan @ 650 cfm | 1 | Units
| KEF-4 : SWSI Centrifugal Fan @ 2900 cfm | 1 | Units
| SEF-5 : SWSI Centrifugal Fan @ 12750 cfm | 4 | Units
| Sidewall Type (57⁰C to 74⁰C) k=8.1 |  | no.
2.0-Sub Total
3 | VENTILATING FANS
| FAF-1 : Vane Axial Tubular Fan @ 6700 cfm | 1 | Units
| FAF-2 : Vane Axial Tubular Fan @ 3300 cfm | 1 | Units
| FAF-3 : Vane Axial Tubular Fan @ 3800 cfm | 1 | Units
| FAF-4 : Vane Axial Tubular Fan @ 2850 cfm | 1 | Units
| FAF-5 : Vane Axial Tubular Fan @ 1100 cfm | 1 | Units
| FAF-6 : Centri Inline Duct Fan @ 163 cfm | 1 | Units
| FAF-7 : Centri Inline Duct Fan @ 64 cfm | 1 | Units
| FAF-8 : Vane Axial Tubular Fan @ 2282 cfm | 1 | Units
| FAF-9 : Vane Axial Tubular Fan @ 1395 cfm | 1 | Units
| FAF-10 : Vane Axial Tubular Fan @ 3350 cfm | 1 | Units
| FAF-11 : Vane Axial Tubular Fan @ 650 cfm | 2 | Units
| FAF-12 : Centri Inline Tubular Fan @ 250 cfm | 9 | Units
| FAF-13 : Vane Axial Tubular Fan @ 2900 cfm | 1 | Units
| PAF-1 : SWSI Centrifugal Fan @ 6300 cfm | 6 | Units
| JF-1 : Induced Jet Fan @ 3600 cfm | 9 | Units
| OF-1 : Propeller (3 SPEED) @ 40cm Fan Blade | 4 | Units
A-Sub Total
C.
no.
no.
no.
Alarm Check Valve (Flanged End)
| 150 mmф |  | no.
Foot Valve w/ strainer
| 150 mmф |  | no.
| 50 mmф |  | no.
Pressure Relief Valve
| 150 mm Ø |  | no.
C-Sub Total
D.
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
|  |  |  | #REF! | #REF!
D-Sub Total
3.0-Sub Total
4
|  |  |  | #REF! | #REF!
| 4.0-Sub Total |  |  | #REF! | #REF!
F. | Testing & Commissioning | 1 | lot
F-Sub Total
Total Cost
TOTAL AMOUNT COST
.