## Sheet1
XYROUS REFREGIRATION AND AIR CONDITIONING SERVICES
14203 Eureka Comp. Bancal,Carmona,Cavite
Cell #.0948 249 3818
xyrous03engineering@gmail.com
VAT Reg. TIN: 246-651-360-00000
PROJECT | QFJ - Quality Management Solutions INC. |  |  |  | Qtn: | XRAS-01-2023
LOCATION: | RS CITY SQUARE, Ortigas Avenue Extension, Brgy. Santo Domingo, Cainta Rizal |  |  |  | Date: | Saturday, August 05, 2023
CLIENT: | SCHEIRMAN CONSTRUCTION CONSOLIDATED INC.
ITEM | DESCRIPTION | QTY. | UNIT | Xyrous Refrigeration and Air-Conditioning Services
|  |  |  | UNIT LABOR COST | TOTAL AMOUNT
1 | Miscellaneous for General Requirments
| Mobilization / Demibilization | 1 | lot | 80000 | 80000
| Hauling / Lifting Works | 1 | lot | 300000 | 300000
2 | Installation of Indoor and Outdoor unit | 1 | lot
| Supply of Labor for Installation of AUX Wall Mounted Inverter R32 - 1.0 HP | 17 | unit | 12500 | 212500
| Supply of Labor for Installation of AUX Wall Mounted Inverter R32 - 1.5 HP | 4 | unit | 12500 | 50000
| Supply of Labor for Installation of AUX Wall Mounted Inverter R32 - 2.0 HP | 2 | unit | 12500 | 25000
| Supply of Labor for Installation of AUX Ceiling Cassette Full DC Inverter R32 - 3.0 TR | 9 | unit | 16500 | 148500
| Supply of Labor for Installation of AUX Ceiling Cassette Full DC Inverter R32 - 4.0 TR | 28 | unit | 16500 | 462000
3 | Supply of Labor for Lay-out of refrigerant pupes with insulation, field wirings, communication and thermostat.
| Refrigerant Pipe | 1 | lot | 291000 | 291000
| Rubber Insulation | 1 | lot | 250000 | 250000
4 | Testing and Commissioning (Flushing, machine connection and leak testing of individual system, Start up and commissioning. | 1 | lot | 210000 | 210000
WARRANTY
TERMS |  |  |  | 30% DOWN PAYMENT, 60% PROGRESS BILLING, 10% RETENTION
| TOTAL ( VAT INCL.) |  |  | 1418500